CE708

Eg Project 1

Calculate the temperature distribution and the equivalent U-value for

- 150 mm x 1.2 mm Steel studs, R20 batt, with exterior gypsum and metal panel. Add ¾” polyiso, 1” XPS, 2” XPS

- concrete balcony slab with steel stud and concrete shear wall with steel stud

- concrete up-stand beam like Vancouver with window wall section

- Window location in insulated steel stud or wood stud wall – location?

Eg Project 2

Develop a domestic hotwater solar Excel model given inputs of solar energy per hour on a surface.  Include storage tanks and losses.  Account for both temperature and wind dependencies of both evacuated tube and flat plate collectors. Use an hourly temperature schedule of use for a typical day, and allow scalability by number of people and square meters of collector area.

Develop gravity driven water flow model through semi-infinite gaps of 0.1 to 3 mm width heights of 1 – 6 m

Develop a CHP Excel model module.  How much electricity, how much heat for gasoline powered, diesel powered, Stirling cycle, and fuel cell powered.  Integrate with passive solar building model.

Develop shading module given solar angles and horizontal or vertical shading dimensions.  Given locations on earth, hourly time.  Should correct for solar time, and split up diffuse and direct radiation.

Develop a simple natural ventilation flow rate Excel model given inlet areas, outlet areas, stack effect wind speed and direction.  Need Cp’s (see Joseph P thesis) and inlet outlet losses.  Should then produce a prediction of indoor temp and moisture given production schedules of both.

Predict hourly RH and T in a sealed IGU.  Now consider adsorption desorption.  Now add a small hole.

When completed we expect to release the information with author attribution to the public.

Exercise 1

Develop spreadsheet to calculate the temperature of a roof membrane on a lightweight assembly with absorptance and emittance and hourly solar and night-sky data.

Exercise 2

Develop spreadsheet to calculate the temperature and moisture conditions in a box given thermal conductance and vapor permeance, as well as air change rate, moisture production heat production and exterior conditions.