## Standard Calibration
Group # | Last Names | Cl2 Stock Concentration (mg/L)
1 | Brandon, Charmaine, Nathalie | 1.79
2 | Ashique, Zach, Jacob | 1.71
3 | Gerry, Matt, Matt | 2.12
4 | Ali G, Simon R, Milos P | 1.56
5 | Chelsea, Pete, Mike | 2.14
6 | John L, Catherine, Angel | 2.2
7
8
9
10
11
12
| Average Stock Chlorine Concentration | 1.92

## Ammonia-Tap
Group # | Last Names | Cl2 Added (mL) | Cl2 Dosage (mg/L) | Cl2 Residual (mg/L)
1 | Brandon, Charmaine, Nathalie | 4 |  | 3.15
2 | Ashique, Zach, Jacob | 8 |  | 5.25
3 | Gerry, Matt, Matt | 12 |  | 0.95 | already multiplied
4 | Simon, Ali, Milos | 16 |  | 4.65
5 | Peter, Chelsea, Mike | 20 |  | 7.05
6 | John L, Catherine, Angel | 24 |  | 9.65
7
8
9
10
11
12

## Wastewater
Group # | Last Names | Cl2 Added (mL) | Cl2 Dosage (mg/L) | Cl2 Residual (mg/L) | dilution factor
1 | Brandon, Charmaine, Nathalie | 4 |  | 3.15 | 5
2 | Ashique, Zach, Jacob | 8 |  | 6.9 | 5 | (already multiplied)
3 | Gerry, Matt, Matt | 12 |  | 8.15 | 5 | (already multiplied)
4 | Simon,Ali, Milos | 16 |  | 10.85 | 5 | (already multiplied)
5 | Peter, Mike, Chelsea | 20 |  | 10.15 | 5
6 | John L, Catherine, Angel | 24 |  | 6.2 | 5
7
8
9
10
11
12