## Standard Calibration
Group # | Last Names | Cl2 Stock Concentration (mg/L)
1
2 |  | 1.88
3 | Garcia, Otten | 1.45
4
5 | Ng, Poon, Chan | 1.95
6 | Garland, Van Kruistum, Kong | 1.92
7 | Cruz, Harron, Yu | 2.09
8 | Man, Laflamme, Lee | 1.95
9
| Average Chlorine Concentration | 1.8733
Note on C1: qkcrosin: This is the value from the HACH kit for your stock solution.

## Ammonia-Tap
Group # | Last Names | Cl2 Added (mL) | Cl2 Dosage (mg/L) | Cl2 Residual (mg/L)
1
2 |  | 4 |  | 0.66
3 | Garcia Otten | 8 |  | 5.75
3
4
5 | Ng, Poon, Chan | 12 |  | 1.55
6 | Garland, Van Kruistum, Kong | 16 |  | 3.65
7 | Cruz, Harron, Yu | 20 |  | 7.2
8 | Man, Laflamme, Lee | 24 |  | 9.9
9 | Peacock, Robinson, Cheung | 28 | 0.01764 | 17.4
Note on C1: qkcrosin: This is the value from the list on the chalk board
Note on D1: qkcrosin: You can calculate this later

## Wastewater
Group # | Last Names | Cl2 Added (mL) | Cl2 Dosage (mg/L) | Cl2 Residual (mg/L)
1
2 |  | 4 |  | 0.51
3 | Garcia, Otten | 8 |  | 6.2
3
4
5 | Ng, Poon, Chan | 12 |  | 0.62
6 | Garland, Van Kruistum, Kong | 16 |  | 1.8
7 | Cruz, Harron, Yu | 20 |  | 4.7
8 | Man, Laflamme, Lee | 24 |  | 7.5
9 | Peacock, Robinson, Cheung | 28 | 0.01764 | 15.3
Note on C1: qkcrosin: This is the value from the list on the chalk board
Note on D1: qkcrosin: You can calculate this later